## Leak Test Submission
RSSI | [8 empty] | 6312 Oakton St. Morton Grove, IL 60053–2723 (847) 965–1999 www.rssi.us
SEALED SOURCE LEAK TEST INFORMATION SHEET
If Excel opens this file in Protected View, click "Enable Editing" before you start. Fill in every field marked *.
Save the completed workbook and email the .xlsx file to labdata@rssi.us.
Facility Name* |  |  |  |  | Person Submitting Samples*
Address* |  |  |  |  | Submitter Email*
Address 2 |  |  |  |  | Send Results to
City* |  |  |  |  | Organization*
State / ZIP* |  |  |  |  | Attention*
Phone |  |  |  |  | Email Address*
License # |  |  |  |  | Address*
Also Send Results to (Optional) Name and Email |  |  |  |  | Address 2
1. |  |  |  |  | City*
2. |  |  |  |  | State / ZIP*
3. | [6 empty] | Results and a Five-Month Reminder are Sent Out by Email.
Form status | Enter at least one swab |  |  |  | Swabs listed |  | 0
Enter only one source per swab. | [7 empty] | * Required | RSSI Leak Test Form v3.0 - Build LT-V3-004
RSSI LEAK TEST SN MUST BE RECORDED * | YOUR SAMPLE ID | DATE COLLECTED (mm/dd/yyyy) * | RADIONUCLIDE * | ACTIVITY ( mCi ) * | SOURCE CAL DATE | DEVICE MANUFACTURER * | DEVICE MODEL * | DEVICE SN * | SOURCE SN | LAB USE ONLY | Check

## Instructions
Leak Test Submission: how to use this workbook
RSSI Leak Test Form v3.0 - Generated 2026-08-24 - Build LT-V3-004
Steps
1. Download and open | Save the workbook to your computer and open it in Microsoft Excel.
2. Enable Editing | If Excel opens the file with a yellow bar across the top, click "Enable Editing". Until you do, dropdowns and checks do not run.
3. Fill the yellow cells | Type in the yellow cells only. Everything else is locked so the form cannot be damaged by accident. Fields marked * are required.
4. One swab, one row, one source | Use one RSSI swab and one row for each source. A device holding more than one source needs one swab, and one row, for each source.
5. Review Form status and Check | Form status sits above the table. When it reads "Ready to send" nothing is outstanding. The Check column at the right of the table names the first problem on each row.
6. Save | Save the completed workbook as an .xlsx file.
7. Email it | Attach the saved workbook to an email to labdata@rssi.us.
8. Send the swabs | Return the physical swabs and the gloves according to the sampling instructions below.
The columns
RSSI Leak Test SN | Required. The six-digit number printed on the swab label. It starts with 1 or 2. Each swab is listed once.
Your Sample ID | Optional. Your own label for the sample, if you use one.
Date Collected | Required. The date the swab was taken.
Radionuclide | Required. Choose one from the dropdown. Choose "Blank" for a blank swab.
Activity ( mCi ) | Required on every row. The source activity in millicuries, as a number, 0 or greater. A Blank swab must record exactly 0.
Source Cal Date | The source calibration date, if you know it.
Device Manufacturer / Model / SN | Required on every row, including blank swabs.
Source SN | The source serial number, if you know it.
What the colors and the Check column mean
Yellow | A cell you can type in.
Red | A value that cannot be right, or a required field left empty in a section or row you have already started.
Pink | Worth a second look, but it will not stop your submission.
Check | The column at the right of the table. It names the first problem on each row in plain words, or reads "OK".
Form status | Above the table. One of: "Enter at least one swab", "Fill in the required (*) fields above", "Fix the rows marked in the Check column", or "Ready to send".
Leak test sampling instructions
1. If you have a dosimeter, wear it when collecting leak test samples.
2. Wear the supplied disposable gloves.
3. Verify that the gauge is in the off position. Remove the cotton-tipped swab from protective tube. Wipe the accessible external surfaces nearest the source aperture. Place each swab back in its protective tube. CAUTION: Never place any part of your body in a direct radiation beam.
4. Download the Leak Test Information Form from rssi.us/resources to your computer and fill out the form on your computer.
5. Record the Leak Test SN, found on the swab label, in the first column of the Form. If you have a sample ID, record it in the second column.
6. Email a digital copy of this to labdata@rssi.us. (Submitting the form with handwritten data will cause delays in reporting.)
7. Place the gloves in the supplied plastic bag.
8. Results will be emailed to the email address on the form within 5 working days.
9. Resume operation using the gauge.
10. If available, use a survey meter to survey the test tubes containing the wipe samples and the plastic bag containing the gloves. If you detect any contamination, contact RSSI at 847-965-1999 immediately.
11. Place all of the tests listed in one padded envelope. Include the plastic bag containing the gloves. You can send multiple tests in a single envelope. NOTE: Do NOT place the test tubes inside the gloves or inside the glove bag.
12. Affix proper postage and send to RSSI for analysis.

## Example
RSSI | [8 empty] | 6312 Oakton St. Morton Grove, IL 60053–2723 (847) 965–1999 www.rssi.us
EXAMPLE - FOR REFERENCE ONLY
If Excel opens this file in Protected View, click "Enable Editing" before you start. Fill in every field marked *.
Save the completed workbook and email the .xlsx file to labdata@rssi.us.
Facility Name* | Acme Materials Testing |  |  |  | Person Submitting Samples* |  | Alex Example
Address* | 123 Main St. |  |  |  | Submitter Email* |  | a.example@example.com
Address 2 | Building 3 |  |  |  | Send Results to
City* | City |  |  |  | Organization* |  | Acme Radiation Services
State / ZIP* | ST | 00000 |  |  | Attention* |  | Person C
Phone | 123-456-7890 |  |  |  | Email Address* |  | c@example.com
License # | ST-555-0199 |  |  |  | Address* |  | 1234 City Blvd.
Also Send Results to (Optional) Name and email |  |  |  |  | Address 2
1. | Person A |  | a@example.com |  | City* |  | Town
2. | Person B |  | b@example.com |  | State / ZIP* |  | ST | 99999
3. | [6 empty] | Results and a five-month reminder are sent out by email.
Form status | Ready to send |  |  |  | Swabs listed |  | 5
Enter only one source per swab. | [7 empty] | * Required | RSSI Leak Test Form v3.0 - Build LT-V3-004
RSSI LEAK TEST SN MUST BE RECORDED * | YOUR SAMPLE ID | DATE COLLECTED (mm/dd/yyyy) * | RADIONUCLIDE * | ACTIVITY ( mCi ) * | SOURCE CAL DATE | DEVICE MANUFACTURER * | DEVICE MODEL * | DEVICE SN * | SOURCE SN | LAB USE ONLY | Check
123456 | GAUGE-01 | 2026-08-17 | Cs-137 | 0.2 | 2023-06-01 | Acme Co. | LB 303 | DEV-1001 | SRC-CS-01 |  | OK
123457 | GAUGE-01b | 2026-08-17 | Co-60 | 0.1 | 2023-06-01 | Acme Co. | LB 303 | DEV-1001 | SRC-CO-02 |  | OK
123458 |  | 2026-08-17 | Am-241 | 1 | 2023-06-01 | Acme Co. | LB 303 | DEV-1001 | SRC-AM-03 |  | OK
123459 | DENSITY-7 | 2026-08-17 | Cs-137 | 8 |  | Acme Scientific | DensiTherm 4 | DEV-1002 | SRC-CS-77 |  | OK
123460 | Control | 2026-08-17 | Blank | 0 |  | Acme Scientific | DensiTherm 4 | DEV-1002 | SRC-CS-77 |  | OK

## Transform (hidden)
BLOCK 1 - per-swab data. Paste-special VALUES into 2026 Temp+Uncert at D{next empty row}. Covers D:P. | [12 empty] | BLOCK 2 - submission-level data. Paste-special VALUES at AV{same row as Block 1}. Covers AV:BS.
Rows emitted: | 0 | Swabs listed on form: | 0 | RECONCILED | FORM NOT COMPLETE: Enter at least one swab
D ¦ Client Sample # | E ¦ Client ID | F ¦ Radionuclide | G ¦ Activity (mCi) | H ¦ Date (Source Cal) | I ¦ Code (Source Cal) | J ¦ Manufacturer (Device) | K ¦ Model # (Device) | L ¦ Serial # (Device) | M ¦ Serial # (Source) | N ¦ Description | O ¦ Location | P ¦ Collection Date | AV ¦ Address 1 (Facility) | AW ¦ Address 2 (Facility) | AX ¦ City (Facility) | AY ¦ State (Facility) | AZ ¦ ZIP (Facility) | BA ¦ Country (Facility) | BB ¦ Telephone | BC ¦ Fax | BD ¦ License # | BE ¦ Submitted By | BF ¦ Send Results to | BG ¦ Email | BH ¦ EC Names | BI ¦ EC Emails | BJ ¦ Company (Results) | BK ¦ Address 1 (Results) | BL ¦ Address 2 (Results) | BM ¦ City (Results) | BN ¦ State (Results) | BO ¦ Zip (Results) | BP ¦ Country (Results) | BQ ¦ Mail? | BR ¦ Email? | BS ¦ Fax? | RSSI Leak Test SN (staff) | Submitter Email (staff)

## README (hidden)
README - RSSI staff only
When the workbook arrives | Open it. Read Form status and Swabs listed above the table. Count the tubes in the envelope against Swabs listed, and check each tube label against the RSSI Leak Test SN column.
Lab Use Only column | Column K on the customer sheet is reserved for the laboratory's own sample numbering and annotation. It is locked to the customer.
Step 1 | Right-click any sheet tab, choose Unhide, and open Transform.
Step 2 | Read Rows emitted (B2). It must equal Swabs listed (D2); cell E2 says RECONCILED when they agree. Cell F2 warns if the customer left the form incomplete.
Step 3 | Select rows 4 through 4+N-1 in columns A:M (Block 1). Copy. In 2026 Temp+Uncert click D{next empty row} and Paste Special, Values.
Step 4 | Select the same rows in columns O:AL (Block 2). Copy. Click AV{same row} and Paste Special, Values.
Step 5 | Fill Index, P-Index, Plan. and the counting columns as usual.
Rows are gated on the RSSI Leak Test SN | A swab with no Your Sample ID is still emitted. Column D falls back to Source SN, then Device SN, per RSSI-50-PRP-0001 5.3.3. The former Sample-ID gate is the defect this rebuild removes.
Deliberately blank in Block 1 | Cal Code (I), Description (N) and Location (O). The customer form no longer collects them. Radionuclide (F) is blank for a Blank swab, per RSSI-50-PRP-0001 5.8.2.
Not carried to the master | Submitter Email has no master column. It sits in the staff column to the right of Block 2 if you want it in Notes.
Pasted values | Excel does not validate pasted input. Trust the Check column and Form status rather than the absence of warnings.
Capacity | The form holds 250 swabs and Transform emits all of them.
Build | RSSI Leak Test Form v3.0 - Generated 2026-08-24 - Build LT-V3-004

## Lists (hidden)
Ac-225 | AL | Yes
Ac-228 | AK | No
Ag-108 | AZ
Ag-108m | AR
Ag-110m | CA
Am-241 | CO
Am-241/Be | CT
Au-198 | DE
Ba-133 | FL
Be-10 | GA
Bi-205 | HI
Bi-207 | ID
Bi-210 | IL
Bi-214 | IN
C-14 | IA
Ca-45 | KS
Cd-109 | KY
Cf-251 | LA
Cf-252 | ME
Cl-36 | MD
Cm-243_A | MA
Cm-243_B | MI
Cm-244 | MN
Co-57 | MS
Co-60 | MO
Cr-51 | MT
Cs-131 | NE
Cs-137 | NV
Cu-64 | NH
Cu-67 | NJ
Eu-152 | NM
F-18 | NY
Fe-55 | NC
Fe-59 | ND
Ga-67 | OH
Ga-68 | OK
Gd-153 | OR
Ge-68 | PA
H-3 | RI
Ho-166m | SC
I-123 | SD
I-124 | TN
I-125 | TX
I-129 | UT
I-131 | VT
In-111 | VA
In-114m | WA
In-115 | WV
In-116m | WI
Ir-192 | WY
K-40 | DC
Kr-81 | AS
Kr-85 | GU
Lu-177 | MP
Mn-54 | PR
N-13 | VI
Na-22
Na-24
Ni-63
P-32
P-33
Pa-234
Pa-234m
Pb-210
Pb-210/Bi-210
Pb-212
Pb-214
Pd-103
Pm-147
Po-210
Pu-238
Pu-239
Ra-223
Ra-226
Ra-228
Rb-82
Rb-87
Ru-106
S-35
Se-75
Sm-153
Sn-119m
Sr-82
Sr-85
Sr-89
Sr-90
Sr-90/Y-90
Tc-99
Tc-99m
Th-228
Th-230
Th-232
Th-234
Tl-201
Tl-204
Tl-208
U-234
U-235
U-238
Xe-133
Y-90
Yb-169
Zn-65
Zr-89
Blank